## FDK
Submitted By:
SECTION A - Asphalt Extension, North End
ITEM | DESCRIPTION | UNIT | EST. QTY | UNIT PRICE | TOTAL PRICE
1 | REMOVALS & SITE PREPARATION
1.1 | Existing Trees: Relocate 2 existing trees to new location on site, as directed by Owner. Refer to "Asphalt Extension" drawing. | LS | 1 |  | 0
1.2 | Removals: Relocate existing soccer goal over the west side of the main soccer field. Refer to "Asphalt Extension" drawing. | LS | 1 |  | 0
1.3 | Excavation: Remove existing sod and excavate for new asphalt and granular base. Refer to "Asphalt Extension" drawing, asphalt detail, and specifications. | sq ft | 5716 |  | 0
1.4 | Drainage Supply and install 300mm catch basin with heavy duty PVC 300mm grate, as indicated on attached photo illustration and detail. Grate to include holes for screws to attach to the pipe. Price to include excavation min. 300mm larger all around and below CB, compacted granular A below and halfway up pipe, and backfill with native material. Granular to be compacted with a jumping jack. CB to be set to finished grade unless otherwise directed by the Contract Administrator. | ea | 3 |  | 0
1.5 | Drainage Supply and install 100mm dia. perforated corrugated pipe c/w filter wrap and 14 ga. tracer wire in trench with 3-4mm washed sand, compacted. Pipe to connect new CBs (item 1.4) with existing subdrain on west side of new asphalt area. Refer to attached photos. | lin ft | 180 |  | 0
|  |  | Item 1 Subtotal |  | 0
2 | PAVING
2.1 | Asphalt: Supply and install new asphalt paving as indicated on "Asphalt Extension" drawing and detail, 35mm HL3 over 45mm HL8, 150mm granular A and 300mm granular B. New paving to be flush with existing. Price to include sawcutting and milling of existing asphalt edge, per detail. Ensure positive drainage towards new catch basins (item 1.4) and no ponding areas. | sq ft | 5716 |  | 0
|  |  | Item 2 Subtotal |  | 0
| TOTAL SECTION A - ASPHALT EXTENSION, NOTH END |  |  | Item 1 to Item 2 | 0
|  |  |  | Contingency 10% | 0
| Use this value for B1. Base Bid Price: Asphalt in Appendix B. |  |  | Subtotal | 0
SECTION B - Kindergarten Playground
ITEM | DESCRIPTION | UNIT | EST. QTY | UNIT PRICE | TOTAL PRICE
3 | REMOVALS & SITE PREPARATION
3.1 | Tree Protection Fencing: Supply and install tree fencing as indicated on L1 and detail. | lin ft | 100 |  | 0
3.2 | Excavation: Remove existing sod and excavate for new light duty asphalt path and granular base, as indicated on L1. Dispose of sod and excavated material offsite. Refer to light duty asphalt detail and specifications. Work carefully in area of existing subdrain. | sq ft | 380 |  | 0
3.3 | Excavation: Remove existing sod and excavate for new concrete pad and granular base, as indicated on L1. Dispose of sod and excavated material offsite. Refer to concrete detail and specifications. Work carefully in area of existing underground utilities. | sq ft | 142 |  | 0
3.4 | Removals: Spade cut edge and remove sod as indicated on L1. Dispose of sod offsite. Work carefully around existing subdrain and trees. | sq ft | 2415 |  | 0
3.5 | Climber Area: Remove sod and excavate for log climber and impact attenuation surfacing, as indicated on L1. Dispose of sod and excavated material offsite. Bottom of excavated area to be sloped at min. 1% towards existing subdrain. | sq ft | 505 |  | 0
3.6 | Sand Pit: Remove sod and excavate for sand pit with upright log border, as indicated on L1. Dispose of sod and excavated material offsite. Bottom of excavated area to be sloped at min. 1% towards new subdrain (see item 5.4) | sq ft | 280 |  | 0
3.7 | Sand Pit: Supply and install 100mm dia. Big 'O' pipe c/w filter sleeve and gravel trench below sand pit, as indicated on L1 and sandpit detail. Pipe to be tied into existing subdrain. Ensure positive drainage. | lin ft | 16 |  | 0
|  |  | Item 3 Subtotal |  | 0
4 | PAVING
4.1 | Asphalt: Supply and install new asphalt paving as indicated on L2 and detail, 50mm HL3 over 150mm granular A. New paving to be flush with existing. Price to include sawcutting and milling of existing asphalt edge, per detail. | sq ft | 380 |  | 0
4.2 | Concrete: Supply and install new concrete pad for future shed, as indicated on L2 and detail, 5" concrete over 6" compacted granular A. New paving surface to be flush with existing asphalt | sq ft | 142 |  | 0
|  |  | Item 4 Subtotal |  | 0
5 | LANDSCAPE FEATURES
5.1 | Balancing Logs: Supply and install horizontal logs, approx. 5' long each, as indicated on L2 and details. Note: This item requires impact attenuation surfacing (item 6.3). Requires label - refer to detail. | ea | 3 |  | 0
5.2 | Upright Stepping Logs: Supply and install upright stepping logs in concrete, heights and locations as indicated on L2 and detail. Note: this item requires impact attenuation (see item 6.3 below). Requires label. | ea | 6 |  | 0
5.3 | Impact Surfacing: Supply and install Engineered Wood Fiber (EWF) Mulch impact attenuation surfacing at 9" depth including 3" base layer of pea gravel, to conform to CAN/CSA-Z614-14. Refer to all attached details and specifications | sq ft | 500 |  | 0
5.4 | Sand Pit: Supply and install approximately 59 lin ft. upright log sand pit border and approximately 225 sq. ft. play sand to min. 8” depth, as indicated on L2 and detail. Requires label. | LS | 1 |  | 0
5.5 | Bridge: Supply and install double bump bridge on asphalt path, as indicated on L2 and detail. Ends of bridge to be flush with paving. | ea | 1 |  | 0
5.6 | Log Tables & Chairs: Supply and install upright log tables, 20” high, with 4 upright log seats each, 12” high as indicated on L2 and detail. | ea | 2 |  | 0
5.7 | Seating Logs: Supply and install 5' long horizontal seating logs c/w with rebar pins, as indicated on L2 and detail. | ea | 3 |  | 0
5.8 | Trees: Supply and install Shademaster Honeylocust (Gleditsia triacanthos inermis 'Shademaster'), 60mm caliper, as indicated on L2 and detail. Refer to all specifications. | ea | 1 |  | 0
5.9 | Surfacing: Supply and install Engineered Wood Fiber Mulch to 6" depth as indicated on L2. Refer to all specifications. | sq ft | 2415 |  | 0
|  |  | Item 5 Subtotal |  | 0
| TOTAL SECTION B - KINDERGARTEN PLAYGROUND |  |  | Item 3 to Item 5 | 0
|  |  |  | Contingency 10% | 0
| Use this value for B1. Base Bid Price : Kindergarten Playground in Appendix B. |  |  | Subtotal | 0
SECTION C - Kindergarten Playground - Optional Paving 1
ITEM | DESCRIPTION | UNIT | EST. QTY | UNIT PRICE | TOTAL PRICE
6 | REMOVALS & SITE PREPARATION
6.1 | Excavation: Remove existing sod and excavate for new light duty asphalt path and granular base ("Separate Price 1"). Refer to L1, light duty asphalt detail and specifications. Work carefully in area of existing subdrain. | sq ft | 170 |  | 0
6.2 | Sod Removal Credit: Reduce area of sod removal by 170 sq. ft. (see Item 3.3). Show as credit here. | sq ft | 170 |  | 0
|  |  | Item 6 Subtotal |  | 0
7 | PAVING
7.1 | Asphalt: Supply and install new asphalt paving as indicated on L2 and detail, 50mm HL3 over 150mm granular A ("Separate Price 1"). New paving to be flush with existing. Price to include sawcutting and milling of existing asphalt edge, per detail. | sq ft | 170 |  | 0
7.2 | Mulch Surface Credit: Reduce area of EWF mulch surfacing by 170 sq. ft. (see item 5.9). Show as credit here. | sq ft | 170 |  | 0
|  |  | Item 7 Subtotal |  | 0
| TOTAL SECTION C - KINDERGARTEN PLAYGROUND OPTIONAL PAVING 1 |  |  | Section 6 to Section 7 | 0
|  |  |  | Contingency 10% | 0
| Use this value for Separate Price #1 in section B6. Separate Prices in Appendix B. |  |  | Subtotal | 0
SECTION D - Kindergarten Playground - Optional Paving 2
ITEM | DESCRIPTION | UNIT | EST. QTY | UNIT PRICE | TOTAL PRICE
8 | REMOVALS & SITE PREPARATION
8.1 | Excavation: Remove existing sod and excavate for new light duty asphalt path and granular base ("Separate Price 2"). Refer to L1, light duty asphalt detail and specifications. Work carefully in area of existing subdrain. | sq ft | 160 |  | 0
8.2 | Sod Removal: remove sod as indicated on L1 ("Separate Price 2"). Dispose of sod offsite. Work carefully around existing subdrain and trees. | sq ft | 930 |  | 0
|  |  | Item 8 Subtotal |  | 0
9 | PAVING & MULCH
9.1 | Asphalt: Supply and install new asphalt paving as indicated on L2 and detail, 50mm HL3 over 150mm granular A ("Separate Price 2"). New paving to be flush with existing. Price to include sawcutting and milling of existing asphalt edge, per detail. | sq ft | 160 |  | 0
9.2 | Surfacing: Supply and install Engineered Wood Fiber Mulch to 6" depth as indicated on L2 ("Separate Price 2"). Refer to all specifications. | sq ft | 930 |  | 0
|  |  | Item 9 Subtotal |  | 0
| TOTAL SECTION D - KINDERGARTEN PLAYGROUND OPTIONAL PAVING 2 |  |  | Item 8 to Item 9 | 0
|  |  |  | Contingency 10% | 0
| Use this value for Separate Price #2 in section B6. Separate Prices in Appendix B. |  |  | Subtotal | 0